Springfield Technical Community College

ACADEMIC AFFAIRS

| Course Number: | ENGY 330 | Department: | Energy Systems Technology |  |  |
| --- | --- | --- | --- | --- | --- |
| Course Title: | Power Plant Operation I | Semester: | Spring | Year: | 1999 |

Objectives/Competencies

| Course Objective | Competencies |  |
| --- | --- | --- |
| - Define boiler classifications. - Discuss boiler safety. - Identify boiler construction methods. - Define methods of drum and shell construction. 5. Compare fire tube and water tube boilers. - Define boiler heat recovery systems. - Define safety valve operation. - Define water column function. - Define primary water level indication techniques. - Describe pressure gauge function. - Define boiler vent. - Define super heater. - Identify soot blower functions. - Define blow down. - Define boiler room systems. - Define feed water regulation. - Define steam trap. - Define steam pressure regulation. - Describe automatic non-return valves. - Define boiler operation. - Define boiler inspection. - Define fire prevention. - Describe centrifugal feed water pump operation. | - Describe high pressure boilers. - Describe low pressure boilers. - Describe fire tube boilers. - Describe water tube boilers. - Describe water temperature and pressure relationships. - Describe boiling point. - Describe possible causes of boiler explosions. - Describe packaged boilers. - Describe set boilers. - Discuss internally fired vs. externally fired boilers. - Identify drum types and functions. - Describe shell design and support. - Describe methods of steam water separation. - Discuss water capacities and safety. - Discuss pressure limitations. - Discuss capacity limitations. - Describe air heaters. - Describe economizers. - Describe blow down systems. - Describe condensate return systems. - Identify safety valve codes. - Describe safety valve functions and locations. - Discuss safety valve construction and testing. - Describe gauge gkss operation. - Describe try cock operation. - Describe alarming functions. - Describe water column maintenance procedures. - Recite steps to replace gauge glass. - Troubleshoot gauge glass problems. - Identify true water level by secondary means. - Identify proper pressure gauge installation. - Identify pressure correction factors. - Define M.A.W.P. - Describe codes for boiler vent. - Describe start up vent operation. - Describe shut down vent operation. - Name super heater types - Identify operating procedures for super heaters. - Recite safety precautions with super heaters. - Describe soot blower types. - Describe construction of soot blowers. - Describe operating procedures. - Describe bottom blow down. - Describe surface blow down. - Describe continuous blow down. - Describe the steam system. - Describe the feed water system. - Describe the fuel system. - Describe the draft system. - Describe float type regulators. - Describe thermoexpansion type regulators. - Describe thermohydraulic type regulators. - Describe team trap use and types. - Describe steam trop classifications. - Describe steam trap characteristics. - Describe steam strainer function and location. - Describe PRV function and location. - Describe PRV operating sequence. - Illustrate PRV layout in steam system. - Describe ANR valve location and operation. - Describe triple acting ANR valve operation. - Describe locking and tagging valves. - Describe general duties and responsibilities. - Describe cold plant start up. - Describe live plant start up. - Describe boiler inspection preparation procedures. - Describe boiler inspection preparation safety. - Identify laws associated with boiler inspections. - Identify five requirements. - Describe five classifications. - Describe five safety procedures. - Identify safety measures involved in pump operation. - Calculate pump output based on application. - Describe construction of pump. - Describe maintenance procedures for centrifugal feed water pumps. |  |