Springfield Technical Community College

ACADEMIC AFFAIRS

| Course Number: | ENGY 411 | Department: | Energy Systems Technology |  |  |
| --- | --- | --- | --- | --- | --- |
| Course Title: | Adv. Heating System Design | Semester: | Spring | Year: | 1999 |

Objectives/Competencies

| Course Objective | Competencies |  |
| --- | --- | --- |
| - Describe the operation of a steam radiator. - Identify various types of heat distributing units. - Define boiler ratings. - State reasons for proper location of boiler. 5. Describe safety and relief valves. - Describe cleaning of internal passages of boiler. - Describe one-pipe steam heating system. - Describe air vents in a steam system. - Describe main piping circuit in a steam system. - Describe the controls in a steam boiler system. - Recall steam system piping practices. 12. State procedure for sizing a steam system. - State general operation of a forced hot water heating system. - Describe removal of sir from a hot water system. - Describe various valves in a hot water system. - Describe the concept of design water temperature. - Describe components in a hot water heating system. - Identify types of forced hot water heating systems. - State function of circulating pump. - Describe methods of zoning hot water systems. - Explain how to size a series loop hot water heating system. - Explain how to size a one-pipe hot water heating system. - Explain operation of in-floor radiant heating system. - Explain details of concrete radiant floor heating system. - Explain operation of tankless water heaters. - Explain operation of indirect water heaters. - Explain selection of water heaters. | - Explain output rating in square feet. - Convert from square feet to BTU per hour. - Define the term MBh. - Explain how to convert steam system to hot water. - Explain principle of operation of cast iron radiators. - Explain operation of fin/tube baseboard. - Explain operation of type RC cast iron baseboard. - Explain operation of convectors. - Describe proper location of heat distributing units. - Explain the Department of Energy test procedure. - Explain Annual Fuel Utilization Efficiency. - Define Net IBR ratings. - Define the term "Heating Capacity." - Define air requirements for proper combustion. - Explain best location for chimney. - Explain boiler installation on combustible floors. - Describe how to properly connect flue pipe to chimney. - Define the term ASME. - Explain various pressure ratings. - Describe capacity ratings. - Identify contaminants in boiler water. - Explain procedure for skimming boiler. - Discuss various cleaning compounds. - Describe the operation of a one-pipe radiator. - State the design limitations of a one-pipe system. - Define the terms feedwater, steam, condensate. - Describe purpose and operation of Hartford logs. - Explain purpose of air vents. - Describe location of air vents. - Explain purpose of adjustable air vent. - Describe purpose of quick vent. - Define the terms main and trunk. - Define the terms dry and wet return. - Explain the purpose and direction of pitch. - Describe the purpose of the header. - Describe the purpose and operation of the low water cut-off. - Describe the operation of an automatic water feeder. - Describe the operation of a vacuum air vent. - Explain reason for reaming pipes. - Explain which pipes must be insulated. - Define specifications for overall system pitch. - Explain procedure for dividing truck into circuits. - Explain heat loss calculation procedure. - Explain how to select radiators. - Select proper size boiler. - Explain layout of piping circuit. - Select proper pipe sizes. - Explain principles of heated water. - Explain function of air cushion tank. - Explain operation of diaphragm expansion tank. - Explain operation of automatic air vent. - Explain operation of air scoop. - Explain operation of spiro vent. - Explain how to purge a system. - Explain function of backflow preventer. - Explain operation of pressure reducing valve. - Explain location and purpose of balance valves. - Explain location and function of flow control valve. - Explain function of radiator valve. - Define what design water temperature means. - Explain how system temperature related to system pressure. - Explain reasons for maintaining boiler temperature. - Explain cold start boiler operation. - Describe function of altitude gauge. - Describe the operation of a one-pipe (Venturi) fitting. - Explain function of dip tube. - Explain function of circulating pump. - Explain operation of series loop system. - Explain operation of one-pipe system. - Explain operation of two-pipe system. - Explain operation of radiant system. - Describe principle of operation of pump. - Explain gallon per minute rating. - Explain feet of head rating. - Describe parts of a pump curve. - Explain how to zone with electric zone valves. - Explain zoning with separate circulators. - Describe procedure for balancing a system. - Describe how to select the baseboard. - Describe how to select boiler. - Calculate gallon per minute requirements. - Calculate proper pump size. - Calculate proper pipe sizes. - Select proper heat distributing units. - Size piping circuit using Venturi fittings. - Determine gallon per minute requirements. - Select pump gpm and feet of head. - Determine net IBR requirements. - Calculate BTVH heat loss per square foot. - Determine floor temperature requirements. - Select proper tube spacing. - Describe insulating the slab. - Explain attachment of tubing. - Calculate water temperatures and flow rates. - Describe floor covering limitations. - Describe position in boiler. - Describe operation of mixing valve. - Explain purpose of flow regulating valve. - Describe high temperature/tempered water circuits. - Explain piping circuit from boiler. - Describe thermastic control. - List advantages over tankless heaters. - Calculate gallon per minute requirements. - Determine recovery rates. - Determine storage capacity. |  |