Springfield Technical Community College

ACADEMIC AFFAIRS

| Course Number: | ENGY 340 | Department: | Energy Systems Technology |
| --- | --- | --- | --- |
| Course Title: | Fund. of Air Conditioning | Semester: | Spring | Year: | 1999 |

Objectives/Competencies

| Course Objective | Competencies |
| --- | --- |
| Define Comfort as it pertains to Air Conditioning. Define Psychrometrics. Relate Refrigeration as it is applied to Air Conditioning. Define the components that make up the Air Conditioning Cooling System. Label the physical design of an Air Conditioning system. Define Air Distribution and Balance. Describe the air pressures involved in moving air. Describe Air Distribution Systems. Understand basics of equipment installation. Define the basics of control systems for Air Conditioning. Describe the typical operating conditions of Air Conditioning. Describe efficiency and design conditions for Air Conditioning equipment. Define humidification. Define Air Filtration and Purification. Describe individual room Air Conditioning. Describe service procedures for room Air Conditioning systems. Describe a typical residential Air Conditioning system. Describe year round air conditioning. Describe a heat pump system. Define auxiliary heat and heat pump operation. Define different types of chilled-water Air Conditioning systems. Relate the use of unique terminology used with chilled-water systems. Define the basics of chemical cooling with an absorption chiller. Describe cooling towers and cooling tower pumps. Define the requirements of section 608 of the clean air act. | Recognize the four factors involved in comfort. Explain the relationship of body temperature to room temperature. Describe why one person is comfortable and another is not. Describe humidity. Define dew point temperature. Define wet bulb and dry bulb temperatures. Plot air conditions on a psychrometric chart. Explain three ways in which heat transfers into a structure. State two ways that air is conditioned for cooling. Recall sensible and latent heat. Describe an evaporator. Describe compressor types. Describe condenser types. Describe an Air Conditioning metering device. Describe split system. Describe packaged system. Recognize standard and high efficiency equipment. Describe the prime over of air. Describe characteristics of the propeller and centrifugal blowers. Describe the common types of motors and drives. Take basic air pressure measurements. Measure air quantities List the different types of air measuring devices. Explain what constitutes good air flow. Describe a return air system. Plot air flow conditions on the air friction chart. Calculate duct sizes according to air flow. Recognize good installation practices. Recognize correct refrigerant piping practices. Identify types of duct system installations. Describe the control sequence for an Air Conditioning System. Explain the function of a 24-volt control voltage. Describe the space thermostat. Identify operating and safety controls. Explain what conditions will vary the evaporator pressures and temperatures. Define how the various conditions in the evaporator and ambient air affect condenser performance. State the relationship of the evaporator to the rest of the system. Describe the relationship of the condenser to the total system performance. Compare high efficiency and standard efficiency equipment. Calculate energy efficiency ratings of air conditioning equipment. Establish reference points when working on unfamiliar equipment. Explain methods that manufacturers use to make air conditioning equipment more efficient. Explain relative humidity. List reasons for providing humidification in winter. Discuss the differences between evaporative and atomizing humidifiers. Explain humidification system design and control Explain why cleaning air in buildings is necessary. List five types of filtering/purification materials or devices Relate indoor air quality to indoor pollution. Discuss the variations in the designs of window and through the wall units. Describe the various methods of installing window air conditioning systems List the major components in the refrigeration cycle of a window cooling unit. Recognize the controls for room air conditioning systems. State the components that may require electrical service. State the proper procedures for changing a room air conditioner. List general procedures and design considerations used in residential air conditioning. Perform a heat gain/heat loss calculation on a typical residential structure for sizing heat/cool equipment. Identify system layout and components used in residential applications. Discuss the three typical year round air conditioning systems. List five ways to condition air. Describe why a heating system normally uses less air than a cooling system. Explain two methods used to vary the air flow in the heating season from that in the cooling season. Define a reverse cycle heat pump. List the components of a heat pump. Explain a four-way valve. State the various heat sources for heat pumps. Compare electric heat to heat with a heat pump. State how heat pump efficiency is rated. Describe how chilled-water air conditioning systems operate. Relate the differences and similarities between high and low pressure chilled-water systems. Identify the components on both low and high pressure systems. Explain what is meant by approach temperature in a water cooled condenser. Explain subcooling and superheating. Explain what a purge system is. Explain the difference between direct expansion and flooded type evaporators. State the refrigerant generally used in absorption chillers. State the compound normally used in salt solutions in large absorption chillers. Explain absorption and rejection methods used in large systems. Understand the purpose of cooling towers. State the means by which a cooling tower reduces water temperature. Describe the two types of cooling towers. Understand the basics of the antiventing law. Recognize service procedures following EPA rules. Relate to the safe handling of refrigerants and refrigerant recovery. |