Springfield Technical Community College

ACADEMIC AFFAIRS

| Course Number: | ENGY 240 | Department: | Energy Systems Technology |  |  |
| --- | --- | --- | --- | --- | --- |
| Course Title: | Principles of Refrigeration | Semester: | Spring | Year: | 1997 |

Objectives/Competencies

| Course Objective | Competencies |
| --- | --- |
| - Theory of heat. - Theory of pressure. - Matter and Energy. - Refrigeration Cycle. - Refrigerants. - General Safety Practices. - Tools and Equipment. - Tubing and Piping. - Systems Evacuation. - Refrigerant Management. - Systems Charging. - Basic Electricity. - Automatic controls. - Control Applications. - Electric Motors. - Evaporators. - Condensers. - Compressors. - Metering Devices. - Special refrigeration components. - Application of refrigeration equipment. - Troubleshooting. | - Define temperature. - Define the British Thermal Unit. - Describe heat flow between substances of different temperatures. - Explain the transfer of heat by conduction, convection, and radiation. - Discuss sensible heat, latent heat, specific heat. - Define pressure. - Describe deferent methods of measuring pressures. - Describe the pressure/temperature relationship. - Define matter. - Explain the three states in which matter is commonly found. - Explain how energy can be converted from one form to another. - Describe the basic refrigeration cycle. - Explain the function of the Compressor, Evaporator, Condenser, and the Metering device. - Define commonly used refrigerants. - List the designated colors for refrigerants cylinders for the various types of refrigerants. - Describe the characteristics of refrigerants. - Describe proper procedures for working with pressurized vessels, electrical energy, cold, rotating machinery, and chemicals. - Work safely, avoiding safety hazards. - Describe specialized tools used in the HVAC industry. - Describe equipment used to install and service refrigeration systems. - Use specialized tools and equipment. - Describe the different types of tubing used for refrigeration systems. - Explain the different ways of bending tubing. - Explain the different ways of flaring tubing. - Explain the different ways of swaging tubing. - Explain the methods for brazing and soldering tubing. - Explain the proper way of leak checking. - Explain the proper evacuation practices. - Describe the triple evacuation. - Explain proper use of the compound gauge. - Define the terms Recovery, Recycling, Reclaiming. - Discuss the EPA regulations. - Differentiate between CFCs, HCFSs, and HFCs. - Discuss how CFSs deplete the earth’s Ozone Layer. - Describe how refrigerant is charged into systems in the vapor and the liquid states. - Describe system charging using two different weighing methods. - Describe the use of alternate charging methods. - Explain Ohm’s law. - Calculate resistance, current, and voltage of simple electrical circuits. - Explain series, parallel and series parallel circuits. - Define Bimetal. - Describe fluid filled, partial liquid, and partial vapor filled controls. - Differentiate between the bellows, diaphragm, and Bourdon tube. - Describe the difference between low and high voltage controls. - Describe the uses of high pressure, low pressure, and overload controls. - Describe the functions of electrical, mechanical, and electromechanical controls. - Troubleshooting basic refrigeration controls. - Describe the different types of motors used in the refrigeration industry. - Describe a motor’s use in the refrigeration system. - Draw schematics for basic electric motor. - Describe the use of capacitors with electric motors. - Define high, medium, and low temp refrigeration. - Identify different types of evaporators. - Describe multiple and single circuit evaporators. - Describe the different methods of defrost. - Describe the differences in operating characteristics between water and air cooled condensers. - Describe the cooling tower. - Explain the relationship between the condensing refrigerant and the condensing medium. - Discuss compression ratio. - Describe four different methods of compression. - State the specific conditions under which a compressor is expected to operate. - Describe the six most common types of metering devices. - Describe how each of the metering devices respond to load changes. - Explain superheat relating to the metering device. - Explain the difference between controls and accessories. - Describe how the various refrigeration accessories may be used to increase operating efficiency and or serviceability. - Describe various types of refrigeration equipment. - Describe display equipment. - Describe walk-in equipment. - Describe ice making equipment. - Describe commercial equipment. - Diagnose an inefficient evaporator, condenser, and compressor. - Evaluate a system with a low charge. - Evaluate a system with a refrigeration restriction. |